## Slide 1
Controller and data acquisition circuit:
Starts/Stops pump.
Opens/Closes valve.
Collects pressure/flow data
User interface:
Displays pump/valve operation.
Displays blood pressure
Computes and displays EnDys score.
Cuff
Flow
sensor
Pump
Deflation
valve
Electrical connection
Fluidic connection
Pressure
sensor