## Slide 1
Controller and data acquisition circuit:
Starts/Stops pump.
Opens/Closes valve.
Collects pressure/flow/pulse data
User interface:
Displays pump/valve operation.
Displays blood pressure and pulse.
Computes and displays EnDys score.
Cuff
Mass Flow
sensor
Pump
Boolean
Deflation
Valve
Electrical connection
Fluidic connection
Gage
Pressure
sensor
Absolute
Pressure
sensor
Temperature
sensor
Pulse
sensor
Restriction
valve